Wi-SUN Network Test Report

# Test Information

|  |  |
| --- | --- |
| Test Type: | AVAILABILITY |
| Started: | 2025-10-16 18:30:51 |
| Format: | Word Document |

# Test Results

# Test Results

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Sr No.** | **IP Address** | **Device Label** | **Hop Count** | **Availability Status** | **Connection Status** |
| 1 | FD12:3456::B635:22FF:FE98:2537 | WN-L031-30 | 1 | 97.09% | AVAILABLE |
| 2 | FD12:3456::B635:22FF:FE98:2523 | WN-L032-30 | 2 | 93.93% | AVAILABLE |
| 3 | FD12:3456::B635:22FF:FE98:252B | WN-L033-30 | - | 100.0% | AVAILABLE |
| 4 | FD12:3456::62A4:23FF:FE37:A3B3 | WN-L034-30 | 2 | 93.05% | AVAILABLE |
| 5 | FD12:3456::B635:22FF:FE98:285B | WN-L035-30 | 3 | 93.66% | AVAILABLE |
| 6 | FD12:3456::62A4:23FF:FE37:A3A1 | WN-L036-30 | - | 100.0% | AVAILABLE |
| 7 | FD12:3456::B635:22FF:FE98:2539 | WN-L037-30 | 4 | 92.32% | AVAILABLE |
| 8 | FD12:3456::B635:22FF:FE98:285C | WN-OF04-34 | 2 | 96.28% | AVAILABLE |
| 9 | FD12:3456::92FD:9FFF:FEEE:9DF7 | WN-L050-30 | 2 | 93.27% | AVAILABLE |
| 10 | FD12:3456::B635:22FF:FE98:285D | WN-L051-30 | 2 | 93.45% | AVAILABLE |
| 11 | FD12:3456::B635:22FF:FE98:253F | WN-L038-30 | 3 | 89.92% | UNAVAILABLE |
| 12 | FD12:3456::62A4:23FF:FE37:A3A8 | WN-L039-30 | - | 100.0% | AVAILABLE |